## Slide 1
National Energy with Weather System (NEWS) Simulator Results
C.T.M. Clack
A.E. MacDonald
A. Alexander
A.D. Dunbar
Y. Fu
J. Wilczak
NAWEA, Blacksburg VA, June 9th 2015

## Slide 2
Observations
(278 ppm pre-industrial subtracted)
2 X CO2
Exponential Increase:
Doubling Time = 32 years
2 X CO2 = 2 x 278 ppm = 556 ppm
Year at 556 ppm ~ 2052
Post Industrial Carbon Dioxide Rise
When (years ago): 30,000 3M 20 M 40 M
Equilibrium climate: Pleistocene Pliocene Eocene
Image update and adapted from PNAS paper, Hofmann, et al;
Solomon et al, Irreversible Climate Change, February 2009;
Beerling & Royer, Convergent Cenezoic CO2, Nature Geoscience, July 2011
Notes: What does doubling mean? More CO2 emitted in doubling year than in all combined previous years…
Pleistocene is characterized as a constant El Nino that never really diminishes until the end of this period…
Pliocene was about 2-3ºC hotter than today, global sea level was 25 m higher…
Eocene saw a swing of ~700 ppm of CO2. This changed the temperature by 6ºC

## Slide 3
The US can produce up to 80% of its electricity from carbon free sources by 2030 at costs similar to those today.
The US needs a national high-voltage direct-current transmission system and it should be co-optimized with generation.
The US should move away from a localized systems to a large-scale system.
Current technologies without storage can do the job if HVDC is expanded, reducing overall costs of the system.
Other technologies can incorporate into a national electric system.
HVDC improves the efficiency of the electric sector, regardless of generation mix (although the biggest impact is with variable generation).
If a national HVDC system is introduced other sectors can be shifted to electrical energy. For example; water heaters, heat pumps, electric vehicles, power-to-gas, etc.
Take Away Messages

## Slide 4
The Electric Power System in 2012

## Slide 5
US Aggregated Electric Demand
Chart: Electrical Demand (GW)
Chart: 
Chart: 

## Slide 6
Wind Speed Video (m/s)

## Slide 7
Solar Irradiance Video (W/m2)

## Slide 8
Wind Capacity Factor Map

## Slide 9
Solar PV Capacity Factor Map
%
%
%
%

## Slide 10
Land Use Constraints
The type and amount of electricity generation installed in each RUC cell is constrained by:
  Spacing between facilities
  Topography of the land
  Land Use (residential, commercial, protected lands, etc…)
Wind
Solar PV

## Slide 11: HVDC Transmission Overlay

## Slide 12
Mathematical Optimization
=
+
+
+
+
Minimize:
+
-
≥
Subject to:
ALL OTHER EQUATIONS CONSTRAIN THE MAGNITUDE OF ANY OF THE TERMS

## Slide 13
Peer reviewed description of the linear programming optimization techniques used.

## Slide 14
NEWS Result: Single US 48 States Electric Power System
(Low Cost Renewables, High Cost Natural Gas)
Capacity
Generation
Uses Low Cost Renewables and High Cost Natural Gas Fuel

## Slide 15
NEWS Result: 128 Independent Electric Power Systems
(Low Cost Renewables, High Cost Natural Gas)
Uses Low Cost Renewables and High Cost Natural Gas Fuel

## Slide 16
Dispatch of wind and solar PV within the simulation
(Low Cost Renewables, High Cost Natural Gas)

## Slide 17
NEWS Result: Geographic Scale and Cost of Technology

## Slide 18
NEWS Result: Geographic Scale and Cost of Technology

## Slide 19
What can the US achieve and what will it cost?*
* Without storage and with current technologies
Notes: Without incentives and externalities…

## Slide 20
The US can produce up to 80% of its electricity from carbon free sources by 2030 at costs similar to those today.
The US needs a national high-voltage direct-current transmission system and it should be co-optimized with generation.
The US should move away from a localized systems to a large-scale system.
Current technologies without storage can do the job if HVDC is expanded, reducing overall costs of the system.
Other technologies can incorporate into a national electric system.
HVDC improves the efficiency of the electric sector, regardless of generation mix (although the biggest impact is with variable generation).
If a national HVDC system is introduced other sectors can be shifted to electrical energy. For example; water heaters, heat pumps, electric vehicles, power-to-gas, etc.
Take Away Messages

## Slide 21
NEWS Result: Back-ups

## Slide 22
System uses only ~ 205,000 3MW wind turbines
Approximately 460 km2 of land taken out of current use
Wholesale cost of wind power 5.2¢ / kWh
A share of 38.4% of electricity generation
Distribution of Levelized Cost of Electricity
System uses only ~ 18,500 20MW solar PV plants
Approximately 6,110 km2 of land taken out of current use
Wholesale cost of solar power 4.6¢ / kWh
A share of 16.7% of electricity generation
Wholesale cost of natural gas power 12.3 ¢ / kWh
Average retail cost of electricity for the entire system 10.7¢ / kWh
Notes: The wholesale cost of the system is 7.8¢/kWh for the entire system. Transmission is 0.4¢/kWh.

## Slide 23
NEWS Result: Sensitivity to Natural Gas

## Slide 24
NEWS Result: Sensitivity to Natural Gas

## Slide 25
NEWS Result: Sensitivity to Natural Gas

## Slide 26
NEWS Result: Sensitivity to Natural Gas

## Slide 27
NEWS Result: The Effect of Coal and EPA CAA 111(d)

## Slide 28
NEWS Result: The Effect of Coal and EPA CAA 111(d)