## Slide 1: On the Effects of Directional Bin Size when Simulating Large Offshore Wind Farms with CFD
Peter Argyle, Simon Watson
CREST, Loughborough University, ENGLAND
p.argyle@lboro.ac.uk

## Slide 2: Reason for study
Permanent link to this comic: http://xkcd.com/1119/
Many people have ideas about how to reduce the observed turbine wakes:
Solutions are often developed based on CFD results, but how do we ensure simulations actually represent reality?

## Slide 3: Why Does Bin Size Matter?
Wake Losses:
Porté-Agel, F.; Wu, Y.-T.; Chen, C.-H. A Numerical Study of the Effects of Wind Direction on Turbine Wakes and Power Losses in a Large Wind Farm. Energies 2013, 6, 5297-5313.
Wake Meandering / Vortex shedding

## Slide 4: Case Study

## Slide 5: Bin Size/Shape Considerations
Chart: Wind Direction [degrees]
| 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283
Case A | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Case B | 0 | 0 | 0 | 0 | 0.33333 | 0.33333 | 0.33333 | 0 | 0 | 0 | 0
Case C | 0 | 0 | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0
Case D | 0 | 0 | 0.14286 | 0.14286 | 0.14286 | 0.14286 | 0.14286 | 0.14286 | 0.14286 | 0 | 0
Case E | 0 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0.11111 | 0
Case F | 0 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0.090909 | 0
Chart: Wind Direction [degrees]
| 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283
Case A | 7.3895e-161 | 3.2793e-98 | 3.671e-51 | 1.1286e-19 | 0.0013499 | 0.9973 | 0.0013499 | 0 | 0 | 0 | 0
Case B | 1.1286e-19 | 1.2798e-12 | 2.8665e-07 | 0.0013496 | 0.15731 | 0.68269 | 0.15731 | 0.0013496 | 2.8665e-07 | 1.2799e-12 | 0
Case C | 3.33e-08 | 1.3312e-05 | 0.0013366 | 0.03458 | 0.23832 | 0.45149 | 0.23832 | 0.03458 | 0.0013366 | 1.3312e-05 | 3.33e-08
Case D | 5.6147e-05 | 0.0012925 | 0.014712 | 0.083209 | 0.23485 | 0.33176 | 0.23485 | 0.083209 | 0.014712 | 0.0012925 | 5.6147e-05
Case E | 0.001227 | 0.0084654 | 0.037975 | 0.11086 | 0.21079 | 0.26112 | 0.21079 | 0.11086 | 0.037975 | 0.0084654 | 0.001227
Case F | 0 | 0.0057032 | 0.021072 | 0.058216 | 0.12029 | 0.1859 | 0.21494 | 0.1859 | 0.12029 | 0.058216 | 0.021072 | 0.0057032 | 0
Chart: Wind Direction [degrees]
| 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283
Case A | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Case B | 0 | 0 | 0 | 0 | 0.25155 | 0.3567 | 0.39175 | 0 | 0 | 0 | 0
Case C | 0 | 0 | 0 | 0.1441 | 0.17758 | 0.25182 | 0.27656 | 0.14993 | 0 | 0 | 0
Case D | 0 | 0 | 0.14739 | 0.10133 | 0.12487 | 0.17707 | 0.19447 | 0.10542 | 0.14944 | 0 | 0
Case E | 0 | 0.13005 | 0.11632 | 0.079968 | 0.098546 | 0.13974 | 0.15347 | 0.083199 | 0.11793 | 0.080775 | 0
Case F | 0 | 0.051901 | 0.11769 | 0.10526 | 0.072368 | 0.089181 | 0.12646 | 0.13889 | 0.075292 | 0.10673 | 0.073099 | 0.043129
Chart: 
MastM1 | -1590.5

## Slide 6: Bin Size Effects on Measurements
Case Name | Directions Included | Bin Size | Events | Wind Speed | Colour
Case A | 278±0.5° | 1° | 173 | 7.53ms-1 | 
Case B | 278±1.5° | 3° | 485 | 7.60ms-1 | 
Case C | 278±2.5° | 5° | 687 | 7.64ms-1 | 
Case D | 278±3.5° | 7° | 977 | 7.67ms-1 | 
Case E | 278±4.5° | 9° | 1238 | 7.68ms-1 | 
Case F | 278±5.5° | 11° | 1368 | 7.68ms-1 | 
Chart: Turbine Position
| Power T1 | Power T2 | Power T3 | Power T4 | Power T5 | Power T6 | Power T7 | Power T8
CaseA | 1 | 0.72967 | 0.70729 | 0.67804 | 0.65189 | 0.62716 | 0.60307 | 0.57714
CaseB | 1 | 0.72914 | 0.699 | 0.66995 | 0.63593 | 0.60318 | 0.58367 | 0.56746
CaseC | 1 | 0.72634 | 0.70012 | 0.66195 | 0.62549 | 0.59296 | 0.57678 | 0.56128
CaseD | 1 | 0.73725 | 0.70742 | 0.67906 | 0.64229 | 0.60869 | 0.5954 | 0.58182
CaseE | 1 | 0.74402 | 0.7122 | 0.67826 | 0.64221 | 0.61111 | 0.60272 | 0.58824
CaseF | 1 | 0.74822 | 0.71556 | 0.68136 | 0.64476 | 0.61041 | 0.5986 | 0.58211
Chart: Turbine Position
| Power T1 | Power T2 | Power T3 | Power T4 | Power T5 | Power T6 | Power T7 | Power T8
CaseA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CaseB | 0.036473 | 0.03572 | 0.024324 | 0.024104 | 0.011096 | -0.0031556 | 0.0031387 | 0.019092
CaseC | 0.050662 | 0.045879 | 0.040009 | 0.025727 | 0.0081045 | -0.0066277 | 0.0048549 | 0.021788
CaseD | 0.050674 | 0.061597 | 0.050867 | 0.052256 | 0.035191 | 0.019733 | 0.037304 | 0.059188
CaseE | 0.053487 | 0.074216 | 0.060788 | 0.053833 | 0.037834 | 0.026528 | 0.052868 | 0.073741
CaseF | 0.04423 | 0.070785 | 0.056431 | 0.049342 | 0.032802 | 0.016349 | 0.036498 | 0.05321

## Slide 7: Simulation Results (Power Ratio)
Chart: Power Ratio
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.55019 | 0.45495 | 0.42607 | 0.41321 | 0.41419 | 0.41708 | 0.41997
Case B | 1 | 0.55007 | 0.46878 | 0.43293 | 0.4204 | 0.41964 | 0.41467 | 0.40552
Case C | 1 | 0.56027 | 0.48687 | 0.45055 | 0.43488 | 0.42758 | 0.41191 | 0.39388
Case D | 1 | 0.57623 | 0.50929 | 0.47403 | 0.4537 | 0.43694 | 0.41437 | 0.39449
Case E | 1 | 0.59832 | 0.53608 | 0.50021 | 0.47512 | 0.45047 | 0.42698 | 0.4101
Case F | 1 | 0.62642 | 0.57107 | 0.52941 | 0.49887 | 0.47051 | 0.44843 | 0.43176
Chart: Power Ratio
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.55019 | 0.45495 | 0.42607 | 0.41321 | 0.41419 | 0.41708 | 0.41997
Case B | 1 | 0.55013 | 0.46151 | 0.42932 | 0.41662 | 0.41677 | 0.41594 | 0.41312
Case C | 1 | 0.55187 | 0.46897 | 0.43453 | 0.42138 | 0.41986 | 0.4147 | 0.40658
Case D | 1 | 0.55629 | 0.47784 | 0.44256 | 0.42812 | 0.42363 | 0.41392 | 0.40178
Case E | 1 | 0.56291 | 0.48823 | 0.45268 | 0.43641 | 0.42821 | 0.41466 | 0.40005
Case F | 1 | 0.57155 | 0.50033 | 0.46432 | 0.44589 | 0.43393 | 0.41763 | 0.40172
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.55019 | 0.45495 | 0.42607 | 0.41321 | 0.41419 | 0.41708 | 0.41997
Case B | 1 | 0.55694 | 0.47784 | 0.44511 | 0.43393 | 0.43358 | 0.42813 | 0.41722
Case C | 1 | 0.56295 | 0.48921 | 0.45541 | 0.44157 | 0.43624 | 0.42289 | 0.4058
Case D | 1 | 0.57899 | 0.51216 | 0.47877 | 0.45952 | 0.44368 | 0.4224 | 0.40306
Case E | 1 | 0.59282 | 0.52872 | 0.49398 | 0.47203 | 0.45125 | 0.43048 | 0.41425
Case F | 1 | 0.60687 | 0.54642 | 0.50874 | 0.48425 | 0.4616 | 0.44138 | 0.42517
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.54167 | 0.44763 | 0.41898 | 0.41214 | 0.41941 | 0.42885 | 0.43668
Case B | 1 | 0.54155 | 0.45922 | 0.42526 | 0.41931 | 0.42482 | 0.42619 | 0.42231
Case C | 1 | 0.55252 | 0.47787 | 0.44426 | 0.43477 | 0.4331 | 0.42311 | 0.41061
Case D | 1 | 0.5687 | 0.50112 | 0.46871 | 0.45368 | 0.44153 | 0.42429 | 0.41039
Case E | 1 | 0.58973 | 0.52796 | 0.49545 | 0.47445 | 0.45361 | 0.43537 | 0.42422
Case F | 1 | 0.61707 | 0.56212 | 0.52437 | 0.49718 | 0.47236 | 0.45541 | 0.44412
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.54167 | 0.44763 | 0.41898 | 0.41214 | 0.41941 | 0.42885 | 0.43668
Case B | 1 | 0.54161 | 0.45313 | 0.42196 | 0.41554 | 0.42197 | 0.42759 | 0.42987
Case C | 1 | 0.54348 | 0.45999 | 0.42722 | 0.42047 | 0.4251 | 0.42622 | 0.42334
Case D | 1 | 0.54814 | 0.46884 | 0.43567 | 0.42748 | 0.42887 | 0.42519 | 0.41845
Case E | 1 | 0.55487 | 0.47938 | 0.44625 | 0.43593 | 0.43323 | 0.42551 | 0.41643
Case F | 1 | 0.56347 | 0.4916 | 0.45828 | 0.44541 | 0.43857 | 0.42792 | 0.41761
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.54167 | 0.44763 | 0.41898 | 0.41214 | 0.41941 | 0.42885 | 0.43668
Case B | 1 | 0.54836 | 0.46768 | 0.43711 | 0.43274 | 0.43865 | 0.43934 | 0.43345
Case C | 1 | 0.55495 | 0.47964 | 0.44851 | 0.44112 | 0.44157 | 0.43392 | 0.42212
Case D | 1 | 0.5713 | 0.50361 | 0.47307 | 0.45927 | 0.4481 | 0.43214 | 0.41863
Case E | 1 | 0.58408 | 0.5202 | 0.48861 | 0.47119 | 0.45448 | 0.43898 | 0.42834
Case F | 1 | 0.59774 | 0.53747 | 0.50322 | 0.48288 | 0.46415 | 0.44913 | 0.43834
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.75521 | 0.71384 | 0.6869 | 0.681 | 0.6622 | 0.65919 | 0.64761
Case B | 1 | 0.75665 | 0.71562 | 0.68826 | 0.67957 | 0.65997 | 0.65619 | 0.6459
Case C | 1 | 0.75972 | 0.71945 | 0.69113 | 0.67818 | 0.65657 | 0.65149 | 0.64279
Case D | 1 | 0.76465 | 0.72544 | 0.6949 | 0.67752 | 0.65365 | 0.64781 | 0.64012
Case E | 1 | 0.77144 | 0.73302 | 0.69929 | 0.67768 | 0.65265 | 0.64625 | 0.63892
Case F | 1 | 0.77999 | 0.7419 | 0.70402 | 0.67956 | 0.6539 | 0.64704 | 0.63975
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.75521 | 0.71384 | 0.6869 | 0.681 | 0.6622 | 0.65919 | 0.64761
Case B | 1 | 0.75589 | 0.71468 | 0.68754 | 0.68033 | 0.66115 | 0.65777 | 0.6468
Case C | 1 | 0.75688 | 0.71591 | 0.68847 | 0.67964 | 0.65986 | 0.65601 | 0.64573
Case D | 1 | 0.75839 | 0.71778 | 0.6898 | 0.67902 | 0.65837 | 0.654 | 0.6444
Case E | 1 | 0.76048 | 0.72029 | 0.69146 | 0.67857 | 0.65697 | 0.65213 | 0.64312
Case F | 1 | 0.76316 | 0.72338 | 0.69336 | 0.67838 | 0.65593 | 0.65068 | 0.64212
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 1 | 0.75521 | 0.71384 | 0.6869 | 0.681 | 0.6622 | 0.65919 | 0.64761
Case B | 1 | 0.75855 | 0.71876 | 0.69216 | 0.68348 | 0.66304 | 0.65855 | 0.64754
Case C | 1 | 0.7604 | 0.72091 | 0.69342 | 0.68159 | 0.65985 | 0.65459 | 0.64492
Case D | 1 | 0.76539 | 0.72682 | 0.69678 | 0.68001 | 0.65594 | 0.64993 | 0.64159
Case E | 1 | 0.76964 | 0.73056 | 0.69754 | 0.67704 | 0.65232 | 0.64578 | 0.63804
Case F | 1 | 0.77383 | 0.73484 | 0.69971 | 0.6777 | 0.65267 | 0.64588 | 0.63821
Uniform
Normal
Weighted
CFD Model 1
CFD Model 2
CFD Model 3

## Slide 8: Simulation Results (Percentage Difference)
Uniform
Normal
Weighted
CFD Model 3
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | -9.5687e-05 | 0.0018101 | 0.0023988 | 0.001891 | -0.0021883 | -0.0034532 | -0.0046495 | -0.0027405
Case C | -0.00013742 | 0.0058322 | 0.0077184 | 0.006026 | -0.0042829 | -0.0086371 | -0.01181 | -0.0075849
Case D | -0.0011126 | 0.011369 | 0.01512 | 0.010525 | -0.0062212 | -0.014006 | -0.018355 | -0.012673
Case E | -0.0025807 | 0.018848 | 0.024211 | 0.015419 | -0.0074365 | -0.016956 | -0.022156 | -0.015961
Case F | -0.0044752 | 0.028187 | 0.034654 | 0.020344 | -0.0065847 | -0.016956 | -0.022827 | -0.016568
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | -4.5278e-05 | 0.00085654 | 0.0011351 | 0.0008948 | -0.0010355 | -0.001634 | -0.0022001 | -0.0012968
Case C | -8.247e-05 | 0.0021205 | 0.0028083 | 0.0022037 | -0.0020837 | -0.0036138 | -0.004897 | -0.0029946
Case D | -0.00020574 | 0.0040026 | 0.0053062 | 0.0040188 | -0.0031114 | -0.0059876 | -0.0080718 | -0.0051634
Case E | -0.00050659 | 0.0064702 | 0.0085231 | 0.0061285 | -0.0040795 | -0.0083906 | -0.011208 | -0.0074397
Case F | -0.00099116 | 0.0095235 | 0.012355 | 0.0084108 | -0.0048323 | -0.010439 | -0.013887 | -0.009461
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | -0.00062941 | 0.0037915 | 0.006257 | 0.0070251 | 0.0030136 | 0.00064305 | -0.0015993 | -0.00074544
Case C | -0.00055335 | 0.0063164 | 0.0093436 | 0.0089358 | 0.00031284 | -0.0040894 | -0.0075234 | -0.004711
Case D | -0.0014615 | 0.012 | 0.016696 | 0.012913 | -0.0029107 | -0.010892 | -0.015482 | -0.010745
Case E | -0.00248 | 0.016571 | 0.020888 | 0.01298 | -0.0082844 | -0.017355 | -0.022768 | -0.017218
Case F | -0.0034452 | 0.021122 | 0.025865 | 0.015146 | -0.0082736 | -0.017785 | -0.023561 | -0.017916
CFD Model 2
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.0036462 | 0.0034321 | 0.029628 | 0.018691 | 0.021124 | 0.016591 | -0.0025697 | -0.029398
Case C | 0.0041706 | 0.024294 | 0.072014 | 0.064747 | 0.059314 | 0.036952 | -0.0092629 | -0.055789
Case D | 0.0035888 | 0.053676 | 0.1235 | 0.1227 | 0.10475 | 0.056518 | -0.0070723 | -0.056836
Case E | 0.0030408 | 0.092038 | 0.18304 | 0.1861 | 0.15471 | 0.084843 | 0.018291 | -0.025591
Case F | 0.0010821 | 0.14044 | 0.25711 | 0.25288 | 0.20766 | 0.12747 | 0.063093 | 0.018135
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.0017254 | 0.0016241 | 0.01402 | 0.0088444 | 0.0099957 | 0.0078506 | -0.001216 | -0.013911
Case C | 0.0029577 | 0.0063153 | 0.030644 | 0.022681 | 0.02323 | 0.016574 | -0.0031808 | -0.02769
Case D | 0.003466 | 0.015451 | 0.050999 | 0.043431 | 0.040822 | 0.026094 | -0.0050835 | -0.038438
Case E | 0.0035957 | 0.028058 | 0.074786 | 0.06891 | 0.061541 | 0.036678 | -0.0042249 | -0.042951
Case F | 0.003443 | 0.043831 | 0.10202 | 0.097544 | 0.084458 | 0.049294 | 0.0012722 | -0.04039
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.0027941 | 0.015177 | 0.047704 | 0.046181 | 0.052918 | 0.04881 | 0.027329 | -0.0046323
Case C | 0.0033935 | 0.027997 | 0.075135 | 0.074114 | 0.073963 | 0.056412 | 0.015268 | -0.030076
Case D | 0.0030029 | 0.057871 | 0.12843 | 0.13247 | 0.11771 | 0.071615 | 0.010693 | -0.038466
Case E | 0.0028285 | 0.08135 | 0.16541 | 0.16948 | 0.14653 | 0.086685 | 0.026532 | -0.016331
Case F | 0.0018495 | 0.10556 | 0.20292 | 0.20327 | 0.17382 | 0.10873 | 0.049232 | 0.005643
CFD Model 1
Chart: Percentage Difference
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.0035883 | 0.0033761 | 0.034108 | 0.019756 | 0.021046 | 0.016772 | -0.0022059 | -0.030942
Case C | 0.0040917 | 0.022485 | 0.074542 | 0.06178 | 0.056736 | 0.036551 | -0.0083625 | -0.05829
Case D | 0.0035245 | 0.051021 | 0.12339 | 0.11649 | 0.10186 | 0.058626 | -0.0029896 | -0.057358
Case E | 0.0029647 | 0.090709 | 0.18183 | 0.17749 | 0.15322 | 0.090795 | 0.026772 | -0.020597
Case F | 0.0010206 | 0.13972 | 0.25652 | 0.24382 | 0.20853 | 0.13712 | 0.07627 | 0.029137
Chart: Percentage Difference
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.0016979 | 0.0015976 | 0.01614 | 0.0093483 | 0.009959 | 0.0079366 | -0.0010438 | -0.014642
Case C | 0.0029086 | 0.0059675 | 0.033828 | 0.022819 | 0.022735 | 0.016616 | -0.0028018 | -0.02907
Case D | 0.0034058 | 0.01453 | 0.053899 | 0.042257 | 0.039603 | 0.026257 | -0.0041867 | -0.040055
Case E | 0.0035303 | 0.026729 | 0.076942 | 0.066202 | 0.059863 | 0.037478 | -0.002293 | -0.044056
Case F | 0.0033758 | 0.042335 | 0.10346 | 0.093449 | 0.082735 | 0.051188 | 0.0046937 | -0.040224
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Case A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Case B | 0.00273 | 0.015042 | 0.053176 | 0.047557 | 0.053015 | 0.049669 | 0.029298 | -0.0038418
Case C | 0.0033153 | 0.026588 | 0.078885 | 0.072403 | 0.072165 | 0.056707 | 0.017284 | -0.030526
Case D | 0.0029398 | 0.055445 | 0.12906 | 0.12699 | 0.11535 | 0.074335 | 0.015726 | -0.037429
Case E | 0.0027568 | 0.080459 | 0.16535 | 0.1626 | 0.1455 | 0.092458 | 0.034989 | -0.010899
Case F | 0.0017847 | 0.10499 | 0.2032 | 0.19616 | 0.174 | 0.11644 | 0.060145 | 0.014182

## Slide 9: Peak Difference at Turbine 3
Wake Losses:
Porté-Agel, F.; Wu, Y.-T.; Chen, C.-H. A Numerical Study of the Effects of Wind Direction on Turbine Wakes and Power Losses in a Large Wind Farm. Energies 2013, 6, 5297-5313.

## Slide 10: Model 3 Differences from Measured Values
Chart: Percentage Difference
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | 0.018039 | 0.053681 | 0.027464 | 0.031336 | 0.063493 | 0.074921 | 0.11277 | 0.14234
Normal | 0.01529 | 0.050837 | 0.02469 | 0.028552 | 0.060621 | 0.072019 | 0.10977 | 0.13926
Weighted | 0.018039 | 0.053681 | 0.027464 | 0.031336 | 0.063493 | 0.074921 | 0.11277 | 0.14234
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | -0.01788 | 0.019184 | 0.0054716 | 0.008966 | 0.04952 | 0.0746 | 0.10413 | 0.11787
Normal | -0.020482 | 0.015464 | 0.0014929 | 0.0052415 | 0.047895 | 0.073656 | 0.10386 | 0.11646
Weighted | -0.018404 | 0.021199 | 0.0093417 | 0.014136 | 0.054991 | 0.079018 | 0.10751 | 0.1201
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | -0.031183 | 0.013336 | -0.0044378 | 0.011527 | 0.050425 | 0.072747 | 0.094316 | 0.1095
Normal | -0.033746 | 0.0068706 | -0.011963 | 0.0049634 | 0.049903 | 0.075272 | 0.098996 | 0.11162
Weighted | -0.031586 | 0.013823 | -0.0028322 | 0.014453 | 0.055273 | 0.077668 | 0.099062 | 0.11271
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | -0.03214 | 0.0038279 | -0.0074872 | -0.0095654 | 0.020948 | 0.039357 | 0.053062 | 0.064839
Normal | -0.033877 | -0.0061743 | -0.019737 | -0.018599 | 0.021378 | 0.04498 | 0.06122 | 0.07004
Weighted | -0.032478 | 0.0044539 | -0.0059464 | -0.0072249 | 0.024349 | 0.042639 | 0.056144 | 0.066917
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | -0.036142 | -0.00062823 | -0.0079644 | -0.0062569 | 0.017103 | 0.029387 | 0.033477 | 0.046908
Normal | -0.036746 | -0.015435 | -0.025797 | -0.018008 | 0.017787 | 0.035554 | 0.042228 | 0.053122
Weighted | -0.036045 | -0.0028623 | -0.011183 | -0.0086438 | 0.016234 | 0.02897 | 0.032831 | 0.04557
Chart: Turbine Position
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | -0.029445 | 0.011763 | 0.0062837 | 0.0028354 | 0.022935 | 0.039697 | 0.04908 | 0.066657
Normal | -0.028677 | -0.0092838 | -0.018062 | -0.011568 | 0.021973 | 0.043764 | 0.055819 | 0.071465
Weighted | -0.02844 | 0.0048113 | -0.0022646 | -0.0022726 | 0.021196 | 0.038821 | 0.048291 | 0.065195
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Uniform | 0.018039 | 0.053681 | 0.027464 | 0.031336 | 0.063493 | 0.074921 | 0.11277 | 0.14234
Normal | 0.01529 | 0.050837 | 0.02469 | 0.028552 | 0.060621 | 0.072019 | 0.10977 | 0.13926
Weighted | 0.018039 | 0.053681 | 0.027464 | 0.031336 | 0.063493 | 0.074921 | 0.11277 | 0.14234
Case D 278±3.5°
Case E 278±4.5°
Case F 278±5.5°
Case A 278±3.5°
Case B 278±4.5°
Case C 278±5.5°

## Slide 11: Conclusions
Nothing Unexpected:
Wider bin sizes show lower wake losses
The significance of directional bin size is dependent on:
  The turbulence model
  The method used to weight simulations by direction
    Uniform distributions suggest lower wake losses
    Normal distributions suggest higher wake losses
Differences in results are most significant at turbine position 3
  Wake expansion reduces significance further into the farm
Not Considered:
Atmospheric stability
CFD model technique – RANS models were used here for speed
Variable free-stream wind speed
Turbine separation

## Slide 12: Questions
The Authors would like to thank
E.ON for sponsoring this research through an EPSRC CASE award
and the
EPSRC Supergen Wind Energy Technologies consortium (grant number: EP/H018662/1).