## Slide 1
Design of closed loop control for region 2 of a wind turbine operated with CVT
1 Dept. of Electrical Engineering, Texas Tech University , Lubbock, TX 79409, US.
2Dept. of Mechanical Engineering, University of North Carolina at Charlotte, NC 28223, USA.
3Dept. of Mechanical Engineering, Texas Tech University , Lubbock, TX 79409, US.
Santiago M. Novoa1, Nilabh Srivastava2, Luciano Castillo3

## Slide 2: Outline of the presentation
Motivation for wind turbine speed control.
Introduction to power electronics for grid integration of different wind turbine topologies.
The continuously variable transmission (CVT) as a feasible solution.
System Modeling. (Rotor – Drivetrain - Generator).
CVT control (Open Loop – Development of closed loop control)
Performance analysis of full modeled system (Simulations run with 10 minutes of wind data sampled at 50 Hz)

## Slide 3
Motivation
Objectives
Study findings can be used to develop a plan to reduce the cost of wind energy, improve energy capture and mitigate inverter reliability concerns.
An economic feasibility study of CVT wind turbines predicts that using a CVT would help reduce the cost of energy by up to 11.2 % as compared with a DFIG variable speed machine with PE [Cotrell, J. NREL].
Fundamental question
Can we design a closed loop control system based on our understanding of the dynamics of the CVT, that maximizes the electric power generated by the wind turbine?

## Slide 4: Regions of operation of variable speed wind turbines
In region 1, the wind speed is too low for the turbine to generate power.
Region 2 for each wind speed we need w such that cp is MAX
In region 3, the power output is limited by the turbine; this occurs when the wind is sufficient for the turbine to reach its rated output power.
Region 4 is the period of stronger winds where the power in the wind is so great that it could be detrimental to the turbine, so the turbine shuts down.

## Slide 5: Control of Regions 2 and 3
We are particularly interested in studying the Region 2 control whose objective is to maximize wind energy capture (Cp)
The power coefficient Cp (λ, β) is a function of the tip-speed ratio (TSR) λ and the blade pitch β. The turbine operates at Cp Max at a certain pitch angle and TSR.
The pitch angle can be easily maintained at the optimal efficiency point, thus Region 2 control is primarily concerned with varying the turbine speed to track the wind speed.
Region 3 control is typically performed via a separate pitch control loop.

## Slide 6: Variable Speed operation
Variable speed turbines can capture more power than fixed speed turbines operating in the same wind conditions because they can track its maximum aerodynamic efficiency point.
Methods for controlling a wind turbine system, By Andrew Rex and Katherine Johnson. August 2009
Power electronics in the feedback loop of a doubly fed induction generator, in which the slip is controlled.
Power electronics to rectify the variable speed (variable frequency) AC produced by the generator. And the invert it to match the grid frequency.
CVT is an attractive alternative to power electronic technologies
Notes: Any of these configurations is valid to connect a variable speed wind turbine to a fixed frequency grid.
The difference is the point within the system where the conversion takes place:
DFIG: Converts variable speed rotational energy to constant frequency AC using slip control.
CVT: Performs frequency conversion on the mechanical side of the generator

## Slide 7: Wind turbine topologies in the market
Previous studies claim that using a CVT would reduce the cost of energy by up to 11.2 % as compared to a DFIG variable speed machine.

## Slide 8: Gearbox vs CVT
* = −
Where is a function exclusively of generator currents (Ir and Is)
* = −
* = −
Control of CVT can be done thru Fz1 and Fz2

## Slide 9: Advantages of CVT
Allows the generator to operate at “fixed speed” while being driven by a variable speed rotor. This brings
A CVT can improve energy capture (wider speed range)
A CVT can downsize pitch control
A CVT can downsize switching electronics needed to ensure a constant grid frequency of 60 Hz.

## Slide 10: Active and reactive Power control

## Slide 11: Real wind speed data
For our simulations instead of using a wind model typically involves specifying the x-component hub-height wind speed we are using a sample of data recorded by met towers at the Reese center just outside of Lubbock, Tx.
The recorded data was sampled at 50 Hz for 10 minutes.

## Slide 12: Rotor Model
The Cp (λ,θ) curve is approximated as follows as proposed on ‘Power System Modelling and Scripting’ By Federico Milano

## Slide 13: CVT Dynamic Modelling
We developed a model that describes both the steady state and the shifting behaviors of the V belt CVT.
This model is non linear, to explain how the rate of change of the speed ratio is related to the actual value of the axial clamping forces.
The Model uses the dynamics published by Carbone-Mangialardi to explain the shifting dynamics During creep mode shifting, and the model by Shafai in Slip Mode shift.
Courtesy review on belt and chain continuously variable transmissions (CVT): Dynamics and control
Nilabh Srivastava

## Slide 14
Dynamic description of CVT behavior:
Similarly:
τf1 and τf2 are primary and secondary friction torques. The value they take during operation is not trivial and depends of other factors (Belt-pulley contact normal force, belt running radius, direction of the relative velocity between the belt and pulley).
For example we use variables named ν1 and ν2 as slip indicators.
This EQ’s are important because they explain how the belt is related to the shifting gradients.

## Slide 15
The CVT model recognizes two shifting regimes: 1) slow
shifting due to pulley bending, and 2) fast shifting due to
belt macroscopic slip.
We consider the system-level approach of Carbone to represent shifting under creep or micro slip conditions.
Accordingly, the Shafai model is used to predict shifting dynamics under slip conditions
Shifting models
The dimensionless parameter ADR as function of the logarithms of the clamping forces (Driver/Driven).
Courtesy of “Carbone, et al. 2005, "The influence of pulley deformations on the shifting mechanism of metal belt CVT.

## Slide 16
Logarithm of the clamping force ratio as a function of the dimensionless torque load. Courtesy of: “CVT Dynamics: Theory and experiments, by G.Carbone et al, in Mech. and Machine Theory, 42, 409, (2007)”
Logarithms of pulley thrust ratios versus speed ratios. Courtesy of “Vroemen, B. G., 2001, Component control for the zero inertia powertrain”.

## Slide 17: CVT Model

## Slide 18: CVT, Rotor Side
Tracking the wind maximum coefficient of performance requires maintaining the rotor blades at a specific tip-speed ratio.
This necessity of speed control makes controlling the wind turbine (WT) with a CVT a logical choice, as load torques can be controlled through variation of the clamping forces on the primary and secondary sides.

## Slide 19: Control
Typical wind turbine torque control is used but in the context of CVT actuation instead of the usual generator torque.
Initial Conditions in all cases:
r1_init = 2.5 inches
r2_init = 5 inches
w1_init = 7*3.5/40;
w2_init = w1_init*(r1_init/r2_init)*1.2;
r1_max = 7 inches = r2_max
r1_min = 0.5 inches = r2_min

## Slide 20: SLIDE REMOVED UNTIL OFFICIAL PUBLICATION OF PAPER IN FALL 2015

## Slide 21: SLIDE REMOVED UNTIL OFFICIAL PUBLICATION OF PAPER IN FALL 2015
The key objective of Region 2 is to track λopt while pitch is fixed.

## Slide 22: SLIDE REMOVED UNTIL OFFICIAL PUBLICATION OF PAPER IN FALL 2015